## Slide 1
Mountain Counties Funding Area
Water/Wastewater Service Providers Assessment
Progress To-Date
Liz Mansfield

## Slide 2: Water / Wastewater Workshops
COMPLETED:
  Upper Feather River (UFR)
  Yosemite-Mariposa (Y-M)
  Tuolumne-Stanislaus (T-Stan)
  Madera
  Mokelumne-Amador-Calaveras (MAC)
  Southern Sierra
  North Sacramento Valley (NSV)
SCHEDULED:
  Yuba 12/5/18
  CABY TBD
Notes: Only UFR and Y-M are wholly in MCFA
All others also in another Funding Area

## Slide 3: Water / Wastewater Surveys
Survey Monkey/PDF Survey/Phone Interviews
Contact Information
Service Information
Challenges
Technical Assistance Needs
Notes: Have held workshops in 6 IRWM regions
Will be holding workshops in North Sac Valley tomorrow
Yuba in November
CABY TBD

## Slide 4: Water / Wastewater Workshops
Discussed Challenges & Technical Assistance
  Water Quality, Quantity and Pressure
  Aging Infrastructure and Storage
  Fire Suppression Supply, hydrants
  Staffing and Training
  Regulatory Compliance
  Operations and Maintenance
  Data and Information
  Water System vulnerability to fire
Notes: Asked about Challenges
Focus on the smaller water and wastewater systems – the larger agencies and Districts are pretty self-sufficient; their main need is money

## Slide 5: Preliminary Findings Water /Wastewater Needs
Top 6 priority Issues
  Aging Infrastructure
  Lack of resources (staffing, training, funding, technical expertise)
  Fire Suppression Supply (storage and hydrants)
  Clean water free from contaminants
  Reliable water source
  Water system vulnerability
Notes: Top 5 challenges

## Slide 6: Preliminary Findings Technical Assistance Needs
      Project planning
      Engineering and design
      Environmental compliance
      Mapping
      Leak detection
      Surveying
      Modeling
      WQ testing
      Equipment sharing
      Safety training classes
      Water System operators training
      Grant writing classes/funding
      Water QA/QC training for sampling and testing procedures
Notes: … and specific expertise including:

## Slide 7: Preliminary Recommendations: Four-Prong Approach to address Technical Assistance
    Up-to-date Resource Lists
    Educational/Training Classes
    Technical Assistance
    Regional Resource Center

## Slide 8: Resource Lists
Available and updated list of current grants & low cost loans
    Consolidate multiple current lists into one complete list maintained by one organization
Available and updated list of no/ low cost resources
    (ex. IRWMs, CA Rural Water Association, RCAC, Self-help Enterprises, Universities, etc.)
Notes: Needs include:

## Slide 9: Educational and Training Classes
    Grant writing class
    Safety training classes
Water System operators training
Water QA/QC training for sampling and testing procedures
Leadership to form partnerships to leverage financial resources
Notes: Needs include:

## Slide 10: Technical Assistance
    GIS Mapping tool
    Surveying
    WQ testing
    Leak detection
    Software
    Modeling
    Equipment sharing
Notes: Needs include:

## Slide 11: Regional Resource Centers
  Hubs spanning multiple IRWMs providing a range of professional services such as:
      Engineering and Design
      Project planning / Development
      Regulatory Compliance
      Project Management
      Grant Management
      Mapping, surveying, modeling

## Slide 12: Challenges
Challenges:
  Getting a response from small purveyors serving DAC Communities
  Determining which service providers were in/out of the MCFA Regional Boundaries
  Accommodating the travel distance/difficulty to attend a Workshop
  Surprise:
  How few of the small providers were aware of or engaged with their IRWMs
  Most of the small water systems are one disaster away from failing
  Water system infrastructure extremely vulnerable to fire
  Water contamination: Arsenic, Manganese, Uranium, Mercury
Notes: Fairly good participation
Some difficulty in determining which providers are in MCFA
Biggest surprise is how few water and wastewater service providers have heard of an IRWM let alone participate in one.

## Slide 13: Questions ?